## Sheet1
Mahatma Gandhi Mission
MGM Campus , Chh. Sambhajinagar (Aurangabad)
ITEM GROUP:- BIO-MEDICAL E-WASTE SCRAP MATERIAL
S.N. | NAME OF ITEM | UOM | RATE | REMARK'S
1 | 405L HORIZONTAL FREEZER
2 | 6- SECTION MANUAL THERAPY TABLE
3 | A - SCAN (REFURBISHED)
4 | AB SCANNER
5 | ABG ANALYZER
6 | ACT MACHINE
7 | ACTIVE PASSIVE TRAINER
8 | ADVANCED DIGITAL AUDIO METER
9 | AIDA
10 | AIR OXYGEN BLENDER
11 | ANESTHESIA MACHINE
12 | ANESTHESIA MACHINE
13 | ANESTHESIA SINGLE ARM PENDANT
14 | ANESTHESIA WORK STATION
15 | AUTOCLAVE MACHINE (HORIZONTAL)
16 | AUTOCLAVE MACHINE (HORIZONTAL)
17 | AUTOCLAVE VERTICAL
18 | AUTOMATED CPR MACHINE
19 | AUTOMATED LIQUID-BASED CYTOLOGY AUTO PROCESSOR
20 | AUTOMATED SYSTEM FOR MICROBIAL IDENTIFICATION & ANTIBIOTIC SENSITIVITY TESTING
21 | BIO SAFETY CABINET
22 | BIO SAFETY CABINET
23 | BI-PAB VENTILATOR
24 | BI-PHYSIC DEFIBRILLATOR WITH ECG MONITOR
25 | BLOOD COLLECTION MONITOR
26 | BLOOD STORAGE REFRIGERATOR
27 | BLOOD WEIGHING BALANCE
28 | BOD INCUBATOR
29 | BODY FAT ANALYZER ( LENOVO DESKTOP )
30 | BODY TONER - 32
31 | BOYLE'S APPARATUS
32 | BRONCHOSCOPE
33 | BUBBLE C.P.A.P.
34 | C.R. SYSTEM
35 | C.T. SCAN
36 | CARDIAC MONITOR( EV 100 CLINICAL PLATFORM )
37 | CARDIOVASCULAR ULTRASOUND SYSTEM
38 | C-ARM MACHINE
39 | CATH LAB SYSTEM
40 | CATHLAB MACHINE
41 | CAUTERY MACHINE
42 | CO2 INSUFFLATORS
43 | CO2 PROCESSOR
44 | CO2 WASH
45 | CR SYSTEM
46 | CROM
47 | CRYOSTAT MICROTOME
48 | CRYOSTAT SEMI AUTOMATIC
49 | CT SCANNER WHOLE BODY MULTISLICE
50 | DEEP FREEZER
51 | DEEP FREEZER (VERTICAL)
52 | DEFIBRILLATOR
53 | DEFIBRILLATOR BIPHASIC
54 | DEFIBRILLATOR(AED)
55 | DENTAL CHAIR
56 | DENTAL X-RAY MACHINE
57 | ECG MACHINE
58 | ECG MONITOR
59 | ECHOCARDIOGRAPHY PORTABLE ULTRASOUND MACHINE
60 | ECT MACHINE
61 | EEG MACHINE
62 | FEEDING PUMP
63 | FES
64 | FETAL DOPPLER
65 | FETAL DOPPLER
66 | FETAL DOPPLER
67 | FETAL DOPPLER
68 | FETAL DOPPLER (POCKET)
69 | FETAL MONITOR
70 | FETAL MONITOR
71 | FETAL MONITOR (NST MACHINE)
72 | FIBER OPTIC BRONCHOSCOPE
73 | FLUD WARMING CABINET
74 | FOC 300 CM
75 | FOOT SUCTION MACHINE
76 | FULLY AUTOMATED BIOCHEMISTRY ANALYZER
77 | FULLY AUTOMATED BIOCHEMISTRY ANALYZER
78 | FULLY AUTOMATIC OTTO MED ENDOWASHER
79 | FUNDAS CAMERA
80 | GASTRO VIDEO SCOPE
81 | GASTRO SCOPE
82 | GASTRO SCOPE
83 | GLASS BEAD STERILIZER
84 | GLASS BEAD STERILIZER
85 | GROSSING STATION
86 | HAEMODIALYSIS MACHINE
87 | HAND DRILL
88 | HARMONIC GENERATOR
89 | HD CAMERA SYSTEM
90 | HD IMAGE 1 CAMERA SYSTEM
91 | HEART LUNG MACHINE
92 | HEART LUNG MACHINE & HEATER COOLER UNIT
93 | HEATER COOLER UNIT
94 | HEMODIALYSIS MACHINE
95 | HEMODIALYSIS MACHINE
96 | HEMOSTASIS ANALYZER
97 | HIFENT NASAL HIGH FLOW MACHINE
98 | HIGH RESOLUTION MANOMETRY SYSTEM
99 | HISTOCORE ARCADIA C-COLD PLATE FOR EMBEDDING SYSTEM
100 | HISTOCORE ARCADIA H-HOT PLATE FOR EMBEDDING SYSTEM
101 | HOLTER MONITOR SYSTEM
102 | HORIZONTAL AUTOCLAVE
103 | HUMECA ELECTRICAL DERMATOME SYSTEM
104 | HUMIDIFIER
105 | INDUSTRIAL WASHING MACHINE
106 | INSTA NX MAG32 NUCLEIC ACID PURIFICATION SYSTEM
107 | INSTA NX MAG32 NUCLEIC ACID PURIFICATION SYSTEM
108 | INSTA Q96 RT-PCR (THERMO CYCLER)
109 | LABORATORY CENTRIFUGE
110 | LASER
111 | LENSOMETER MANUAL
112 | LIGHT CURE
113 | LIGHT SOURCE
114 | LIGHT SOURCE (250W) (CONDENSER)
115 | LIGHT SOURCE (LED)
116 | LIGHT SOURCE(FIBER OPTIC)
117 | LIGHTMED YAG LASER WITH ZEN VISION INSTRUMENT TABLE
118 | LIMAS MORCELLATOR MOTOR DRIVE UNIT
119 | LINEAR SCOPE
120 | LITHOTRIPSY BED
121 | LITHOTRIPSY UNIT
122 | LITTLE ANNE
123 | LOCAL TREADMILL
124 | LOW FREEZER (-40OC) VERTICAL
125 | MAMMOGRAPHY
126 | MICROSCOPE
127 | MICROSCOPE PENTA HEAD
128 | MICROSCOPE WITH CAMERA
129 | MICROTOME
130 | MINI DOPPLER
131 | MINI SPIN CENTRIFUGE
132 | MIXER
133 | MOBILE ODT EVA SYSTEM
134 | MOBILE REFRIGERATOR
135 | MOBILE X-RAY MACHINE (100 MA)
136 | MONITOR PULSE OX METER
137 | MONITOR AMBULATORY BLOOD PRESSURE RECORDER
138 | MORIA SBK MICROKEROTOME SYSTEM
139 | MORTUARY CHAMBER 2 BODIES INNER
140 | MOTOR BODY COMPOSITION
141 | MRI
142 | MULTIPARA MONITOR ETCO2 WITH IBP
143 | MULTIPARA MONITOR WITH ETCO2
144 | MULTIVENOUS IV TRAINING
145 | MUSCLE STIMULATOR
146 | MYLA PC
147 | ND YAG LASER Q- SWITCHED AND LIQUIED CRYO MAXI 500ML WITH LIQUIED NITROGEN TANK 3.7 LTR
148 | NEONATAL HEIGHT SCALE
149 | NEONATAL INCUBATION TRAINER
150 | NEONATAL REDIANT WARMER
151 | NON-REFRIGERATED CENTRIFUGE
152 | NST MACHINE
153 | NURSE CALL BELL
154 | NURSE CALL BELL
155 | O.T. LIGHT
156 | O.T. LIGHT (MOBILE)
157 | O.T. LIGHT (SINGLE DOME CEILING)
158 | O.T. TABLE (ELECTRONIC)
159 | O.T.TABLE
160 | OCULYZER (SCHEIMPFLUG TOPOGRAPHER)
161 | OLYMPUS ARM CAMERA MONITOR
162 | ONLINE UPS
163 | ONLINE UPS SYSTEM 120 KVA
164 | OPERATING MICROSCOPE
165 | OPHTHALMIC EQUIPMENT STAND
166 | OPHTHALMIC REFRACTION CHAIR UNIT
167 | OPTICAL COHERENCE TOMOGRAPHY(OCT)
168 | ORTHO BIO HEAT BLOCK SYSTEM
169 | ORTHOPANTOMO GRAPH MACHINE(OPG)
170 | OTOREAD SCREENER DP & TEOAE WITH PRINTER
171 | PACEMAKER
172 | PATIENT BODY WARMER
173 | PATIENT CHAIR (THERAPEUTIC CHAIR)
174 | PHACO MACHINE
175 | PHACO MACHINE (REFURBISHED)
176 | PHOTOTHERAPY
177 | PHOTOTHERAPY (LED)
178 | PISTON COMPRESSOR NEBULIZER
179 | PLASMA EXPRESSER
180 | PLANER
181 | PLASMA EXPRESSER
182 | PLASMA FREEZERS VERTICAL
183 | PLASMA THAWING BATH
184 | PLASTER CUTTER
185 | PLATELET INCUBATOR WITH AGITATOR
186 | PRESSURE BIOFEEDBACK STABILIZER
187 | PROMPT BIRTHING SIMULATOR
188 | PULSE OX METER (MRI COMPATIBLE)
189 | QUANTUM FFR MEASUREMENT SYSTEM WITH WIIVOX
190 | R.O. SYSTEM
191 | RADIAL SCOPE
192 | RADIANT WARMER
193 | RADIO FREQUENCY DEVICE SYSTEM
194 | RADIO SURGERY UNIT
195 | REAGENT REFRIGERATOR
196 | REBOUND TONOMETER
197 | REFRIGERATED CENTRIFUGE
198 | REFRIGERATOR
199 | REFRIGERATED CENTRIFUGE
200 | REN-IPL
201 | RESPONIC SLEEP LAB SYSTEM
202 | RESUSCI ANNE ADVANCED SKILL TRAINER
203 | RESUSCI ANNE QCRP FULL BODY WITH SKILL GUIDE
204 | RETIKARE AP PLUS (7500CPM)
205 | RETRIEVE OVEN
206 | SCHIOTZ TONOMETER
207 | SEROLOGICAL WATER BATH
208 | SEROLOGICAL WATER BATH
209 | SERUM INSPISSATOR
210 | SHAVER HD MONITOR
211 | SHAVER SYSTEM
212 | SHAVER SYSTEM
213 | SIMMAN 3G
214 | SIMPAD SYSTEM
215 | SINGLE PATIENT DIALYSIS UNIT
216 | SLAVE TOUCH SCREEN MONITOR
217 | SLIT LAMP
218 | SONOGRAPHY
219 | SPECIALIZED DOUBLE PAN EQUALIZER
220 | SPECTRA OPTIA APHAERESIS SYSTEM
221 | SPERM COUNTING CHAMBER
222 | SPERMFUGE
223 | SPHYGMOMANOMETER
229 | STRESS TEST SYSTEM WITH T-2100
230 | SYRINGE INFUSION PUMP
231 | SYSTEM 6 BATTERY CHARGER
232 | TABLE TOP CENTRIFUGE
233 | TCM II HEATER COOLER UNIT WITH STEP DOWN
234 | TECAR
235 | TELESCOPE (LAPAROSCOPY)
236 | TREADMILL
237 | ULTRA FREEZER (-80OC) HORIZONTAL
238 | ULTRA LOW FREEZER
239 | ULTRASONIC CLEANER
240 | ULTRASONIC HARMONIC SCALPEL GENERATOR
241 | ULTRASONIC SURGICAL ASPIRATOR
242 | ULTRASOUND MACHINE
243 | ULTRASOUND PACHYMETER
244 | ULTRASOUND SONOGRAPHY MACHINE
245 | UPS
246 | UPS SYSTEM FOR CVTS O.T. EQUIPMENTS
247 | UPS SYSTEM FOR M.R.I.
248 | URETROSCOPE
249 | URO-DYNAMIC STUDY CHAIR
250 | URO-DYNAMIC SYSTEM
251 | VACUUM PUMP
252 | VACUUM SUCTION DELIVERY SYSTEM
254 | VDRL ROTATOR
255 | VENTILATOR
256 | VENTILATOR ( ADULT & PEDIATRIC)
257 | VENTILATOR (BIPAP)
258 | VENTILATOR (BIPAP)
259 | VENTILATOR (HFO)
260 | VENTILATOR (MRI COMPATIBLE)
261 | VESPRA PULSE SURGICAL LASER MACHINE
262 | VIDEO LARYNGOSCOPE
263 | VIDEO PROCESSOR (EUS) WITH LIGHT SOURCE
264 | VISION BOX
265 | VITROUS IMMUNO DIAGNOSTIC SYSTEM
266 | VORTEX
267 | VPN 16 PORT ROUTER
268 | WARMER BLOOD & FLUID
269 | WATER BATH
270 | WATER BATH
271 | WHOLE BODY DEXA SCANNER
272 | WOODS LAMP
273 | X - RAY MACHINE (MOBILE)
274 | X-RAY MACHINE
275 | X-SMART
TERMS AND CONDITIONS
1. Rates of the item will be finalized for one year from the date of it's approval.
2. Gate pass will be issued only after receipt of payment and material handed over to vendor.
*** ***